[image: image1.jpg]


 SEQ CHAPTER \h \r 1New York State Department of Environmental Conservation

Division of Water
Bureau of Flood Protection and Dam Safety, 4th Floor

625 Broadway, Albany, New York 12233-3504
Phone: (518) 402-8185  •  FAX: (518) 402-9029
Website: www.dec.ny.gov



A Template for an Inspection

And Maintenance Plan for Dams
Purpose: 

Pursuant to New York State Environmental Conservation Law Article 15-0507:  Dam owners shall at all times operate and maintain the dam and all appurtenant works in a safe condition.  The purpose of this document is to assist dam owners in developing a Dam Safety Inspection and Maintenance Plan (I&M Plan) as required by NYCRR Part 673.6.  The I&M Plan should be used by the owner and kept on file, but does not need to be submitted to the Department unless requested.

This template reflects the general components of an I&M plan for the average dam.  Use of this format does not guarantee acceptance of the Inspection and Maintenance Plan by the Department.  Dam owners may use other guidance and formats so long as the plan complies with 6 NYCRR Part 673.6. 
Additional narrative space should be added as needed.

TEMPLATE
An I&M Plan should indicate who prepared it, when it was last revised and where the Plan is located, as in the following:

Prepared By:  Name:  
   
                       Title:  
    

                       Company:  

Date Last Revised: 

Location of Dam Inspection and Maintenance Plan: 

Part 1:  Dam Data
Dam Name:



Dam State Identification Number: 

Federal Energy Regulatory Commission Identification Number, if applicable:


Dam Hazard Classification: 



(C-High Hazard, B-Intermediate Hazard, A-Low Hazard)

Date of last Hazard Class Verification:



Dam Location:
County:

Town/City/Village:



Latitude:

Longitude:

Dam Type: ________________________________ (embankment, concrete, combination, other)

Year of original construction:
 
Year of last construction activity:

Name of last Engineer and Builder: 
 

Dam Use(s): 

(water supply, flood control, energy generation, recreation, irrigation, pollution control, other)

Dam Owner(s) Name:


Dam Owner(s) Mailing Address:

Dam Owner(s) Telephone Number:

Dam Owner(s) Facsimile Number:

Dam Owner(s) E-Mail:

Reservoir and stream (inflow and outflow) name and class (and/or navigability?):

______________________________________________________________________________

Associated wetlands and other natural resources of special concern:

______________________________________________________________________________

Dam height:
 feet

(as measured from downstream toe at lowest point to top of dam)
Dam Crest length: 
feet
Dam Crest width:
 feet

Maximum Impoundment Volume:
 gallons

All Counties/Towns/Cities/Villages within downstream inundation zone: 
(B and C Hazard Class dam owners should refer to their Emergency Action Plans) 
Normal Pool Elevation:


(set by crest of service spillway)


Auxiliary/Emergency Spillway Elevation:

Maximum Design Water Surface Elevation:


(specify vertical datum used: local, barge canal, NGVD 29, NAVD 88, IGLD)
Part II: Dam Inspection and Maintenance
Primary person responsible for Dam Operations: ______________________________________

(name, title, phone number)

INSPECTION - This section of your I&M Plan should indicate who, how frequent, and what is involved in an inspection.  A form or forms should be developed and included which can be used for each type of inspection or items to be monitored.  Each dam will typically have specific features which will require monitoring.  Such features may be adapted from past inspection reports that were either prepared by NYSDEC or the owner(s engineer.  Include a table, such as the following, to identify the various type of inspections.
	INSPECTION TYPE

	FREQUENCY
	ITEMS TO INSPECT/MONITOR
	PERSONNEL

	Informal

(i.e. storm events,
snow melts)
	As needed, after event

	Spillway/Aux. Spillway/Seepage


	Damtender/Owner

	Informal
	Monthly/Bi-Monthly/Other


	Seepage/Wet Areas/ Toe Drain Flow/ Pool Level/ Trash Rack Debris/ Slides/Cracks/ Rodent Activity/ Vegetation/ Concrete Surfaces/ Vandalism/ Piezometers 
	Damtender/Owner

	Maintenance
	Semi-Annually/ Annually/ Other


	In addition to above items: Slope Protection/Riprap Erosion/ Condition of Vegetative Cover/ Spillway and embankment Condition/ Lake Drain Conditions/
Settlement Monuments
	Damtender/Owner/ Engineer

	Technical
	Periodic*
	Safety Inspection 
(See Part 673.12)

	Engineer

	Technical 

	Periodic  (After initial, every 10 years)
	Engineering Assessment 
(See Part 673.13)
	Engineer


*
For Class C dams, typical Safety Inspection frequency should be every 2 years,
  
For Class B dams, typical Safety Inspection frequency should be every 4 years

MAINTENANCE – Indicate in your I&M Plan the items which will require periodic maintenance.  Particular attention should be given to conditions noted on past inspection reports.  Examples of typical maintenance are given below.  Your dam may consist of some or all of these items and/ or require additional measures, or modified frequencies.
ITEM

Mow embankment and emergency spillway

Lubricate and repair as needed lake drain

valve mechanism

Re-establish proper vegetative cover

Address erosion

Address rodent damage

Clean trash rack

Concrete Maintenance

Maintain other mechanical equipment

Replace/ replenish riprap



FREQUENCY
2 times/year

Annually

As needed

As needed

As needed

As needed

As needed

Annually

Annually

OPERATION - Give a summary of all your operation procedures for the dam.  Specific procedures for operation of mechanical equipment such as valves should be included here, or attached.  Emergency operation should be covered in an Emergency Action Plan (EAP). 

Some examples of items that would require operational/ procedural descriptions may include:

· pool level drawdown for the winter season


· exercise (specified frequency – i.e. 2x/year), lubrication of valves 
· record keeping (who is maintaining, location)

SAFE RATE DRAWDOWN PLAN - This section should include the method to be used for drawing the impoundment down under emergency and non-emergency conditions.  This could include the maximum release rate which will not cause downstream flooding or rapid drawdown damage.  Alternative ways to provide for drawdown if needed (i.e. portable pumps, temporary siphons) should also be included.  (Hasty, unplanned action during emergency situations could increase the dam failure rate or actually cause failure)
Part III: Training
List of procedures and frequency for training personnel regarding the I&M Plan. Also note other training needs, such as confined space entry procedures per OSHA requirements.

Part IV: Notifications
List of Items Requiring Notification and Notification Procedures pursuant to ECL Part 673.  This should consist of at a minimum the following:

	Form
	Submittal Date

	Annual Certification 
	By January 31, of each year

	Incident Report Form (EAP Activation, Flow in Erodible Spillway)
	Within 5 days of incident

	Notification of Property Transfer
	Sale of property where dam is located


Part V: Appendices 

Examples of typical appendices include the following:
1. Inspection Forms
2. Past Inspection Reports
3. Reduced Size As-Built Drawings
4. Spillway Rating Curve
5. Drain Rating Curve
6. Pictures

Part VI: Available References
1. An Owners Guidance Manual for the Inspection and Maintenance of Dams in New York State, DEC June 1987.

http://www.dec.ny.gov/docs/water_pdf/damguideman.pdf
2. Guidelines for Design of Dams, DEC Revised January 1989.

http://www.dec.ny.gov/docs/water_pdf/damguideli.pdf



DS-IM-1 (9/09) DRAFT 
1

