## DWSP2 Plan Checklist
Drinking Water Source Protection Program (DWSP2) Plan Data Summary
Description: | DWSP2 Plan Checklist
This DWSP2 Plan Data Summary is a tool to summarize data gathered throughout the protection planning process using the DWSP2 Framework. The sections in this Data Summary align with the components of the DWSP2 Framework. | This checklist can be used throughout the protection planning process to keep track of components that are in-process or complete. Select “in-process” or “complete” under the status dropdown menu for each component.
| Component |  | Status
Communities may seek to include information beyond what is outlined in this document and should make additions based on local needs. The tables and information in this document will be valuable to include within a community’s DWSP2 Plan. |  | Foundation and Formation
| A. | Prepare Drinking Water Source Protection Maps
| B. | Form a Stakeholder Group
| C. | Formulate a Vision and Establish Goals
For guidance on writing a DWSP2 Plan, refer to the DWSP2 Plan Template. The DWSP2 Plan Template specifies where the tables from the data summary can be included in a DWSP2 Plan. |  | Drinking Water Source Assessment
| E. | Complete Drinking Water Source Protection Maps
| F. | Create a Potential Contaminant Source Inventory
Protection and Management
Communities seeking to submit a DWSP2 plan for state acceptance should refer to the DWSP2 Reviewer Guidance. The DWSP2 Reviewer Guidance is utilized by state staff to ensure plans include the required elements to receive state acceptance. | F. | Identify Protection and Management Methods
| G. | Develop an Implementation Timeline
Plan Finalization
| H. | Program Management
| I. | Compile Plan
Implementation and Maintenance
| J. | Implement the Program
| K. | Progress Reports

## Public Water Supply Information
Public Water Supply (PWS) Information
PWS Name:
PWS ID:
Type of Sources identified in plan: | SELECT
Name(s) of sources being protected (if different than PWS Name):

## A. Prepare Drinking Water Maps
A. Prepare Drinking Water Source Protection Maps
Below is a list of publicly available date: |  | Provide a description of the map layers created or acquired to prepare the preliminary source water protection map(s) below:
URL | Publicly Available Data | Layer | Date Created or Acquired | Description
https://www.arcgis.com/apps/instant/filtergallery/index.html?appid=5723a116393945469f9cd32b0b833d4d | • NYSDEC Waterbody Inventory/Priority Waterbodies (WI/PWL) List | Ex. Priority Waterbodies | 2025-03-05 | Created a new layer from a selection of local source waterbodies from the priority waterbodies layer
| • Chemical Bulk Storage | Ex. 300' Buffer | 2025-03-05 | Created a 300' buffer around selected source water
| • Major Oil Storage Facilities | Ex. Municipal Boundaries | 2025-03-10 | Downloaded municipal boundaries layer.
• Petroleum Bulk Storage
• Inactive Landfills
• Hazardous Waste Management Facilities
• Remediation Sites
• Combined Sewer Overflows (CSOs) and Sanitary Sewer Overflows (SSOs)
•Concentrated Animal Feeding Operations
• Lake Internal Loading
https://data.gis.ny.gov/ | • NYSDEC Water Withdrawal
• Chemical Bulk Storage
• Major Oil Storage Facilities
• Petroleum Bulk Storage
• Active Landfills
• Land Application Sites
• Vehicle Dismantling Facilities
• Spill Incidents
• Oil and Gas wells
• Golf Courses
• Marinas and Boat Launches
https://gis.ny.gov/ | • Potential Environmental Justice Area
• Tax Parcel Data
• Conservation Easement Data
• Vehicle Dismantling Facilities
• Remediation Sites
• Individual State Pollutant Discharge Elimination System (SPDES) Facility
• Transportation Corridors
• Road Maintenance Facilities
• Salt and Deicers Storage
• Agricultural Activities
• On-site Septic Systems
• Waterfront Property Management
• Golf Courses
https://mrlc.gov/data | • National Land Cover Database
• Stormwater
https://datagateway.nrcs.usda.gov/ | • Conservation Easement Data
https://www.conservationeasement.us/ | • Conservation Easement Data
https://datagateway.nrcs.usda.gov/GDGOrder.aspx# | • Watershed Boundary Dataset
• National Hydrography Dataset
https://www.nyserda.ny.gov/ny/Disadvantaged-Communities/ | • Disadvantaged Communities
https://www.fema.gov/flood-maps/national-flood-hazard-layer | • Federal Emergency Management Agency’s (FEMA) National Flood Hazard Layer (NFHL) Database
https://ngmdb.usgs.gov/topoview/ | • USGS Topographic Maps
www.srbc.net/ | • Susquehanna River Basin Commission Water Withdrawal Information
https://www.nj.gov/drbc/basin/map | • Delaware River Basin Commission Water Withdrawal Information
https://nypad.org/Download | • New York Protected Area Database
www.sciencebase.gov/catalog/item/55c9ddf7e4b08400b1fdb734 | • Aquifer Mapping
www.data.gov | • Remediation Sites
• Transportation Corridors
https://dec.ny.gov/environmental-protection/mining-reclamation/mining-resources-data#Downloadable ( | • Mines
www.npms.phmsa.dot.gov/AboutPublicViewer.aspx | • Gas and Hazardous Liquid Pipelines
https://www.epa.gov/toxics-release-inventory-tri-program/tri-basic-data-files-calendar-years-1987-present | • Toxic Release Inventory Facilities
https://dec.ny.gov/environmental-protection/water/water-quantity/resilient-ny | • Eroding Streambanks and Shorelines

## Summary of Water - Surface
Summary of the Water System - Surface Water
Fill in the summary of the water system table below:
Public Water System Identification
Water system name: | X Water District
NYS Public Water System ID: | NYXXXXXXX
Type of water system (e.g. community, non-community, transient, non-transient): | Community
Description
Name of the community, or communities, that are served by the system: | Town of X
Name of the community, or communities, that purchase water from the system: | Village of X
Name of the community, or communities, that have emergency interconnections to the system: | N/A
Name of the company or organization that operates the system (if not the owner): | N/A
Population served by the system: | X,XXX
Number of service connections: | XXX
Summary of intakes, depth(s), screen length and pumping rates: | Summary of intakes, depth of XX feet, XX feet offshore, pumping rate of XXX (units), XXX of miles from wastewater treatment plant (WTP), etc.
Description of the type(s) of treatment that the water receives before entering the distribution system: | Raw water entering the plant is treated with the following X processes, treated water is pumped to X, etc.
Characteristics of the waterbody and surrounding watershed: | Waterbody is X acres and X feet deep at the deepest point, average depth is X. X river discharges into the source, reservoir capacity of X gallons, waterbody is used for X purpose(s) (such as recreation), waterbody is located in X municipality(s),geographical setting, etc.
Water Quality Summary
Water quality summary of any ambient water quality information (trophic status, water classification, watershed to lake ratio, occurrence of HABs, Water Quality Standards parameter excursions): | Reviewed information from publicly accessible data/reports X, levels of phosphorus and nitrogen found to be X, trophic status, NYS water classification X, watershed to lake ratio X:Z, confirmed HABs reported X, Y, Z, excursions of Water Quality Standards in X, Y.
Summary of any finished water detections and/or history of maximum contaminant level (MCL) violations: | Exceeded the MCL for X for the past X years, emergent contaminants detected, contamination susceptibility (if applicable), etc.
Water Quantity Summary
Current water withdrawal permit expiration date(s) | ___ / ___ / _____
Total permitted water withdrawal capacity | _______MGD
Average daily water demand | _______MGD
Maximum daily water demand (Unofficial 3-day average in peak month – e.g. July) | _______MGD
Annual water losses | _______%

## Summary of Water - Ground
Summary of the Water System - Groundwater
Fill in the summary of the water system table below:
Public Water System Identification
Water system name: | X Water District
NYS Public Water System ID: | NYXXXXXXX
Type of water system (e.g. community, non-community, transient, non-transient): | Community
Description
Name of the community, or communities, that are served by the system: | Town of X
Name of the community, or communities, that purchase water from the system: | Village of X
Name of the community, or communities, that have emergency interconnections to the system: | N/A
Name of the company or organization that operates the system (if not the owner): | N/A
Population served by the system: | X,XXX
Number of service connections: | XXX
Summary of wells, intakes, infiltration galleries and/or springs including name, depth, screen length and pumping rates: | Well ID #XXXXXXX, depth of XX feet, screen length of XX feet, pumping rate of XXX (units), Diameter X (unit), etc.
Description of the type(s) of treatment that the water receives before entering the distribution system: | Raw water entering the plant is treated with the following X processes and descriptions of processes, treated water is pumped to X
Summary of hydrogeographic setting of drinking water sources including type of aquifer and aquifer materialsr: | The aquifer used is a deep sand and gravel aquifer in a narrow buried glacial valley. The aquifer is confined and estimated to be X feet wide with shale bedrock, aquifer is located in X municipality(ies), geographical setting, etc.
Water Quality Summary
Summary of any ambient water quality information: | Reviewed information from publicly accessible data/reports X, etc.Review information from the Groundwater Ambient Monitoring (GAM) Program or local sampling, analytes may include nitrite, nitrate, ammonia, etc
Finished water detections and/or history of maximum contaminant level (MCL) violations: | Exceeded the MCL for X for the past X years, emergent contaminants detected, contamination susceptibility (if applicable), etc.
Water Quantity Summary
Current water withdrawal permit expiration date(s) | ___ / ___ / _____
Total permitted water withdrawal capacity | _______MGD
Average daily water demand | _______MGD
Maximum daily water demand (Unofficial 3-day average in peak month – e.g. July) | _______MGD
Annual water losses | _______%

## B. Stakeholder Group
B. Form a Stakeholder Group
List the Stakeholder Group names, contact information, invite attempts, and relevant affiliation(s) |  |  |  |  | List the meeting dates and summaries of topics covered at stakeholder meetings below
Name | Contact Information |  | Invite Attempt(s) | Relevant Affiliation(s) | Date | Topic(s) Covered
| Phone | Email
List the Stakeholder Advisor names, contact information, invite attempts, and relevant affiliation(s)
Name | Contact Information |  | Invite Attempt(s) | Relevant Affiliation(s)
| Phone | Email

## C. Vision and Goals
C. Formulate a Vision and Establish Goals
Provide the community’s vision for the source water protection plan in the space below: | List community-specific goals for your source water protection plan below:
Vision Statement | Goal
Goal
Goal
Goal
Goal
Goal
Goal
Goal
Goal
Goal

## D. DWSP2 Map
D. Complete Drinking Water Source Protection Maps
Please attach the drinking water source protection map(s) upon submission to the State.
Provide a description of established drinking water source protection areas below, including distances and/or time of travel information. In addition, make note of any applicable studies (e.g. Wellhead Protection Plan) or technical assistance that were used to determine each protection area and/or delineation method: |  |  |  | Provide a description of the map layers created or acquired to create the source water protection map below:
Protection Areas | Description |  | Delineation Method | Layer | Date Created or Acquired | Description
Ownership and Control Area (for groundwater) or Control and Monitoring Area (for surface water) |  |  |  | Ex. Priority Waterbodies | 2025-03-05 | Created a new layer from a selection of local source waterbodies from the priority waterbodies layer
|  |  |  | Ex. 300' Buffer | 2025-03-05 | Created a 300' buffer around selected source water
|  |  |  | Ex. SPDES Facilities | 2025-03-10 | Downloaded SPDES data on 3/5/2020. Created SPDES layer.
Critical Area
Extended Source Water Area
Additional Protection Area (if applicable)
Below is a list of publicly available date:
URL |  | Publicly Available Data
https://www.arcgis.com/apps/instant/filtergallery/index.html?appid=5723a116393945469f9cd32b0b833d4d |  | • NYSDEC Waterbody Inventory/Priority Waterbodies (WI/PWL) List
• Chemical Bulk Storage
• Major Oil Storage Facilities
• Petroleum Bulk Storage
• Inactive Landfills
• Hazardous Waste Management Facilities
• Remediation Sites
• Combined Sewer Overflows (CSOs) and Sanitary Sewer Overflows (SSOs)
•Concentrated Animal Feeding Operations
• Lake Internal Loading
https://data.gis.ny.gov/ |  | • NYSDEC Water Withdrawal
• Chemical Bulk Storage
• Major Oil Storage Facilities
• Petroleum Bulk Storage
• Active Landfills
• Land Application Sites
• Vehicle Dismantling Facilities
• Spill Incidents
• Oil and Gas wells
• Golf Courses
• Marinas and Boat Launches
https://gis.ny.gov/ |  | • Potential Environmental Justice Area
• Tax Parcel Data
• Conservation Easement Data
• Vehicle Dismantling Facilities
• Remediation Sites
• Individual State Pollutant Discharge Elimination System (SPDES) Facility
• Transportation Corridors
• Road Maintenance Facilities
• Salt and Deicers Storage
• Agricultural Activities
• On-site Septic Systems
• Waterfront Property Management
• Golf Courses
https://mrlc.gov/data |  | • National Land Cover Database
• Stormwater
https://datagateway.nrcs.usda.gov/ |  | • Conservation Easement Data
https://www.conservationeasement.us/ |  | • Conservation Easement Data
https://datagateway.nrcs.usda.gov/GDGOrder.aspx# |  | • Watershed Boundary Dataset
• National Hydrography Dataset
https://www.nyserda.ny.gov/ny/Disadvantaged-Communities/ |  | • Disadvantaged Communities
https://www.fema.gov/flood-maps/national-flood-hazard-layer |  | • Federal Emergency Management Agency’s (FEMA) National Flood Hazard Layer (NFHL) Database
https://ngmdb.usgs.gov/topoview/ |  | • USGS Topographic Maps
www.srbc.net/ |  | • Susquehanna River Basin Commission Water Withdrawal Information
https://www.nj.gov/drbc/basin/map |  | • Delaware River Basin Commission Water Withdrawal Information
https://nypad.org/Download |  | • New York Protected Area Database
www.sciencebase.gov/catalog/item/55c9ddf7e4b08400b1fdb734 |  | • Aquifer Mapping
www.data.gov |  | • Remediation Sites
• Transportation Corridors
https://dec.ny.gov/environmental-protection/mining-reclamation/mining-resources-data#Downloadable ( |  | • Mines
www.npms.phmsa.dot.gov/AboutPublicViewer.aspx |  | • Gas and Hazardous Liquid Pipelines
https://www.epa.gov/toxics-release-inventory-tri-program/tri-basic-data-files-calendar-years-1987-present |  | • Toxic Release Inventory Facilities
https://dec.ny.gov/environmental-protection/water/water-quantity/resilient-ny |  | • Eroding Streambanks and Shorelines

## E. PCS Inventory
E. Create a Potential Contaminant Source Inventory
Fill out the potential contaminant source inventory table below:
Potential Source Category | Potential Source | Facility | Contaminant Category | Specific Contaminant | Protection Area(s) Impacted | Status | Relevant Information

## F. Protect and G. Implement
F. Identify Protection and Management Methods & G. Develop an Implementation Timeline
Fill in the implementation timeline below, including identified protection and management methods:
Priority Issue | Potential Contaminant Source(s) | Goal | Protection Method and/or Management Method | Project Leader and Partnerships Needed | Potential Cost | Potential Funding Sources | Implementation Start Date | Implementation Timing

## Project Profile
Project Profiles
Fill in a project profile table below for each priority issue the community identifies under componentation G.
Project Profile 1: [Title] | Project Profile 2: [Title] | Project Profile 3: [Title] | Project Profile 4: [Title] | Project Profile 5: [Title]
Priority Issue: | Priority Issue: | Priority Issue: | Priority Issue: | Priority Issue:
Potential Contaminant Source(s): | Potential Contaminant Source(s): | Potential Contaminant Source(s): | Potential Contaminant Source(s): | Potential Contaminant Source(s):
Goal: | Goal: | Goal: | Goal: | Goal:
Applicable Protection and/or Management Method(s): | Applicable Protection and/or Management Method(s): | Applicable Protection and/or Management Method(s): | Applicable Protection and/or Management Method(s): | Applicable Protection and/or Management Method(s):
Project Leader and Partnerships Needed: | Project Leader and Partnerships Needed: | Project Leader and Partnerships Needed: | Project Leader and Partnerships Needed: | Project Leader and Partnerships Needed:
Potential Costs: | Potential Costs: | Potential Costs: | Potential Costs: | Potential Costs:
Potential Funding Sources: | Potential Funding Sources: | Potential Funding Sources: | Potential Funding Sources: | Potential Funding Sources:
Potential Barriers | Potential Barriers | Potential Barriers | Potential Barriers | Potential Barriers
Implementation Start Date: | Implementation Start Date: | Implementation Start Date: | Implementation Start Date: | Implementation Start Date:
Implementation Timing: | Implementation Timing: | Implementation Timing: | Implementation Timing: | Implementation Timing:
Step-by-step Process: | Step-by-step Process: | Step-by-step Process: | Step-by-step Process: | Step-by-step Process:
Step 1: | Step 1: | Step 1: | Step 1: | Step 1:
Step 2: | Step 2: | Step 2: | Step 2: | Step 2:
Step 3: | Step 3: | Step 3: | Step 3: | Step 3:
Step 4: | Step 4: | Step 4: | Step 4: | Step 4:
Step 5: | Step 5: | Step 5: | Step 5: | Step 5:
Step 6: | Step 6: | Step 6: | Step 6: | Step 6:
Step 7: | Step 7: | Step 7: | Step 7: | Step 7:
Step 8: | Step 8: | Step 8: | Step 8: | Step 8:
Step 9: | Step 9: | Step 9: | Step 9: | Step 9:
Step 10: | Step 10: | Step 10: | Step 10: | Step 10:

## Cost Estimate
Cost Estimate
Fill in the cost estimate table below for each identified protection and management method:
Protection Method and/or Management Method | Task Requirements |  | Weekly Hourly Requirements | Total Hours Required (entire project or per year) |  | Labor Costs per Hour (NYSDOL Wages) | Personal Costs (i.e., salary, fringe) | Non-Personal Costs (e.g., equipment/materials, consultants) | Total Potential Costs
| Entire Project or Per Year | Requirements |  | Entire Project or Per Year | Requirements

## H. Program Management
H. Program Mangement Team
List the Program Management Team names and contact information below: |  |  |  | Use the table below to document the Program Management strategy for keeping the DWSP2 Plan up to date:
Name | Contact Information |  | Relevant Affiliation(s)
| Phone | E-mail |  | Program Management Summary
|  |  |  | Item |  | Status
Designate a Program Management Team
Determine progress report frequency
Months
Share progress reports
Review and share the plan
Verification from NYS DEC and DOH for completeness
Create a revision schedule

## I. Compile Plan
I. Compile Plan
Use the table below to document Stakeholder Group progress on compiling the DWSP2 Plan for state acceptance:
Compile Plan
Step |  | Status
Confirmed where DWSP2 Plan will be stored
Plan will be stored:
Reviewed draft DWSP2 Plan
Commented on draft DWSP2 Plan
Compiled DWSP2 Plan for State Acceptance
Submitted DWSP2 Plan for State Acceptance
Received State Acceptance for DWSP2 Plan

## J. Implement and K. Progress
J. Implement the Program and K. Progress Reports
Use the table below to document the Program Management Team's next steps to implement the program:
Program Implementation Summary
Item |  | Status
Identify details for kickoff meeting
Review Program Management Team roles and responsibilities
Develop a meeting schedule
Review implementation timeline and project profiles
Determine next steps to implement the DWSP2 Plan
Confirm DWSP2 Plan revision schedule
Use the table below to track updates and revisions to the DWSP2 Plan. Use the notes section to detail changes made in each update and/or revision:
Update/Revision Tracker
Report | Date | Notes
First report:
Update/Revision 1
Update/Revision 2
Update/Revision 3
Update/Revision 4
Update/Revision 5
Update/Revision 6
Update/Revision 7
Update/Revision 8
Use the table below to track the timeline of progress reports and sharing strategies:
Progress Report Timeline
Report | Date | Sharing Strategy
First report:
Report 2
Report 3
Report 4
Report 5
Report 6
Report 7
Report 8
Report 9