## Instructions
Field Name | Sheet/tab | Instructions
DEC Identification | Facility Information | Provide the DEC identification number, which can be found on the cover page of your SPDES permit.
SPDES Permit Number | Facility Information | Provide the SPDES permit number, which can be found on the cover page of your SPDES permit.
Facility Name | Facility Information | Provide the discharger's facility name. Do not use a colloquial name.
Outfall Number | Facility Information | Provide the outfall number as listed in the SPDES permit. A new excel spreadsheet must be provided for each individual outfall.
Permitted Flow (MGD) | Facility Information | Provide the permitted flow in million gallons per day (MGD) for the outfall identified.
Receiving Waterbody | Facility Information | Choose the appropriate receiving waterbody for the outfall's point of discharge (surface water or groundwater) per dropdown in table.
Waterbody Name | Facility Information | Provide the waterbody name the outfall discharges to.
SIC Code | Facility Information | Provide the standard industrial classification (SIC) code for the facility.
Do you (or will you) have an industrial pre-treatment or mini pre-treatment program? | Facility Information | Choose the appropriate answer (yes or no) per dropdown in table.
Did DEC instruct you to sample for Table D parameters? | Facility Information | Choose the appropriate answer (yes or no) per dropdown in table.
Table | Tables | Denotes which table each parameter is located in. See NY-2A application instructions for information on what tables must be completed for your facility. Table A: Effluent parameters for all publicly owned treatment works (POTWs) Table B: Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD Table C: Effluent parameters for selected POTWs Table D: Pesticides & additional pollutants as requested by NYSDEC
Pollutant | Tables | Identifies parameter to be sampled for as defined in the NY-2A application instructions.
Cas No. | Tables | Denotes the Chemical Abstracts Service (CAS) number specific to the pollutant identified.
Applicability | Tables | Denotes the applicability for sampling each parameter.
Instructions | Tables | Denotes instructions specific to each parameter.
Maximum Daily Discharge symbol | Tables | Include any symbol associated with the lab result (i.e., <, >, ND) per dropdown in table.
Maximum Daily Discharge value | Tables | Provide the maximum daily discharge value based upon actual sample values. Sampling shall be conducted according to sufficiently sensitive test procedures (i.e., methods) approved under 40 CFR 136 for the analysis of pollutants or pollutant parameters or required under 40 CFR chapter I, subchapter N or O, unless otherwise specified in the Instructions column of the Tables sheet. See instructions in the NY-2A application and 40 CFR 122.21(e)(3).
Maximum Daily Discharge units | Tables | Denotes units specific to each parameter.
Maximum Daily Discharge qualifier | Tables | Include any applicable qualifiers associated with the lab result (i.e., B, J, U, etc.).
Average Daily Discharge symbol | Tables | Include any symbol associated with the lab result (i.e., <, >, ND) per dropdown in table.
Average Daily Discharge value | Tables | Provide the average daily discharge for all samples, expressed as concentration. Sampling shall be conducted according to sufficiently sensitive test procedures (i.e., methods) approved under 40 CFR 136 for the analysis of pollutants or pollutant parameters or required under 40 CFR chapter I, subchapter N or O, unless otherwise specified in the Instructions column of the Tables sheet. See instructions in the NY-2A application and 40 CFR 122.21(e)(3).
Average Daily Discharge units | Tables | Denotes units specific to each parameter.
Average Daily Discharge qualifier | Tables | Include any applicable qualifiers associated with the lab result (i.e., B, J, U, etc.).
Number of Samples | Tables | Provide the number of samples.
Analytical Method | Tables | Specify the analytical method used for each parameter.
ML or MDL | Tables | Specify the threshold level (i.e., method detection limit (MDL), minimum level (ML), or other designated method endpoint) for the analytical method used.
ML or MDL units | Tables | Denotes units of the threshold level for the analytical method used.

## Facility Information
DEC Identification | SPDES Permit Number | Facility Name | Outfall Number | Permitted Flow (MGD) | Receiving Waterbody | Waterbody Name | SIC Code | Do you (or will you) have an industrial pre-treatment or mini pre-treatment program? | Did DEC instruct you to sample for Table D parameters?
NY

## Tables
Table | Pollutant | CAS No. | ICIS Parameter Name | Applicability | Instructions | Maximum Daily Discharge symbol (<, >, ND, =) | Maximum Daily Discharge value | Maximum Daily Discharge units | Maximum Daily Discharge qualifier (ex. B, J, U, etc.) | Average Daily Discharge symbol (<, >, ND, =) | Average Daily Discharge value | Average Daily Discharge units | Average Daily Discharge qualifier (ex. B, J, U, etc.) | Number of Samples | Analytical Method | ML or MDL | ML or MDL units
A | Biochemical Oxygen Demand |  | BOD, 5-day, 20 deg. C | Effluent parameters for all POTWs | BOD5 or CBOD5 (report one) Sampling for BOD5, CBOD5, Fecal Coliform, and Total Suspended Solids (TSS) is not required for groundwater dischargers. |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
A | Carbonaceous Biochemical Oxygen Demand |  | BOD, carbonaceous [5 day, 20 C] | Effluent parameters for all POTWs | BOD5 or CBOD5 (report one) Sampling for BOD5, CBOD5, Fecal Coliform, and Total Suspended Solids (TSS) is not required for groundwater dischargers. |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
A | Fecal Coliform |  | Coliform, fecal general | Effluent parameters for all POTWs | Sampling for BOD5, CBOD5, Fecal Coliform, and Total Suspended Solids (TSS) is not required for groundwater dischargers. |  |  | cfu/100ml |  |  |  | cfu/100ml |  |  |  |  | cfu/100ml
A | Design Flow Rate |  | Flow, in conduit or thru treatment plant | Effluent parameters for all POTWs
A | Minimum pH |  | pH | Effluent parameters for all POTWs |  |  |  | SU |  |  |  | SU |  |  |  |  | SU
A | Maximum pH |  | pH | Effluent parameters for all POTWs |  |  |  | SU |  |  |  | SU |  |  |  |  | SU
A | Winter Temperature |  | Temperature | Effluent parameters for all POTWs |  |  |  | °C |  |  |  | °C |  |  |  |  | °C
A | Summer Temperature |  | Temperature | Effluent parameters for all POTWs |  |  |  | °C |  |  |  | °C |  |  |  |  | °C
A | Total Suspended Solids |  | Solids, total suspended | Effluent parameters for all POTWs | Sampling for BOD5, CBOD5, Fecal Coliform, and Total Suspended Solids (TSS) is not required for groundwater dischargers. |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
A | Mercury | 7439-97-6 | Mercury, total [as Hg] | Effluent parameters for all POTWs | Analysis for Mercury must be performed utilizing the low-level, USEPA Method 1631. |  |  | ng/L |  |  |  | ng/L |  |  |  |  | ng/L
A | Perfluorobutanoic acid (PFBA) | 375-22-4 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluoropentanoic acid (PFPeA) | 2706-90-3 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorohexanoic acid (PFHxA) | 307-24-4 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluoroheptanoic acid (PFHpA) | 375-85-9 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorooctanoic acid (PFOA) | 335-67-1 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorononanoic acid (PFNA) | 375-95-1 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorodecanoic acid (PFDA) | 335-76-2 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluoroundecanoic acid (PFUnA) | 2058-94-8 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorododecanoic acid (PFDoA) | 307-55-1 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorotridecanoic acid (PFTriA) | 72629-94-8 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorotetradecanoic acid (PFTeA) | 376-06-7 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorobutanesulfonic acid (PFBS) | 375-73-5 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluoropentanesulfonic acid (PFPeS) | 2706-91-4 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorohexanesulfonic acid (PFHxS) | 355-46-4 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluoroheptanesulfonic acid (PFHpS) | 375-92-8 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorooctanesulfonic acid (PFOS) | 1763-23-1 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorononanesulfonic acid (PFNS) | 68259-12-1 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorodecanesulfonic acid (PFDS) | 335-77-3 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorododecanesulfonic acid (PFDoS) | 79780-39-5 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluorooctanesulfonamide (FOSA) | 754-91-6 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | N-Methyl Perfluorooctanesulfonamidoacetic Acid (NMeFOSAA) | 2355-31-9 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | N-Ethyl Perfluorooctanesulfonamidoacetic Acid (NEtFOSAA) | 2991-50-6 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 1H,1H,2H,2H-Fluorotelomer Sulfonic Acid (4:2 FTS) | 757124-72-4 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 1H,1H,2H,2H- Fluorotelomer Sulfonic Acid (6:2 FTS) | 27619-97-2 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 1H,1H,2H,2H- Fluorotelomer Sulfonic Acid (8:2 FTS) | 39108-34-4 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | N-ethyl Perfluoro-octanesulfon-amide (NEtFOSA) | 4151-50-2 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | N-Methyl Perfluorooctane Sulfonamide (NMeFOSA) | 31506-32-8 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | N-Methyl Perfluorooctanesulfonamido Ethanol (NMeFOSE) | 24448-09-7 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | N-Ethyl Perfluorooctanesulfonamido Ethanol (NEtFOSE) | 1691-99-2 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 9-Chlorohexadecafluoro-3-Oxanone-1-Sulfonic Acid (9Cl-PF3ONS) | 756426-58-1 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Hexafluoropropylene Oxide Dimer Acid (HFPO-DA or GenX) | 13252-13-6 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 11-Chloroeicosafluoro-3-Oxaundecane-1-Sulfonic Acid (11Cl-PF3OUdS) | 763051-92-9 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 4,8-Dioxa-3h-Perfluorononanoic Acid (ADONA) | 919005-14-4 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 3-Perfluoropropyl Propanoic Acid (3:3FTCA) | 356-02-5 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 2H,2H,3H,3H-Perfluorooctanoic Acid (5:3FTCA) | 914637-49-3 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 3-Perfluoroheptyl Propanoic Acid (7:3FTCA) | 812-70-4 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Nonafluoro-3,6-dioxaheptanoic Acid (NFDHA) | 151772-58-6 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluoro-4-Methoxybutanoic Acid (PFMBA) | 863090-89-5 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluoro-3-Methoxypropanoic Acid (PFMPA) | 377-73-1 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | Perfluoro(2-Ethoxyethane)Sulfonic Acid (PFEESA) | 113507-82-7 |  | Effluent parameters for all POTWs | Analysis for the PFAS suite of compounds must be performed utilizing USEPA Method 1633. |  |  | ng/L |  |  |  | µg/l |  |  |  |  | µg/l
A | 1,4-Dioxane | 123-91-1 | 1,4-Dioxane | Effluent parameters for all POTWs | Analysis for 1,4-Dioxane must be performed utilizing USEPA Method 8270E SIM or 8270D SIM. |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
B | Total Residual Chlorine (TRC) |  | Chlorine, total residual | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD | Facilities that do not use chlorine for disinfection, do not use chlorine elsewhere in the treatment process, and have no reasonable potential to discharge chlorine in their effluent are not required to report data for chlorine. |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Dissolved Oxygen |  | Oxygen, dissolved [DO] | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD | Sampling for Dissolved Oxygen and Total Kjeldahl Nitrogen (TKN) are not required for groundwater dischargers. The value(s) provided for Dissolved Oxygen must be a minimum Dissolved Oxygen concentration. |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Oil and Grease |  | Oil & Grease | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Nitrite (as N) |  | Nitrogen, nitrite total [as N] | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Nitrate (as N) |  | Nitrogen, nitrate total [as N] | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Ammonia (as N) |  | Nitrogen, ammonia total [as N] | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Total Kjeldahl Nitrogen (TKN) |  | Nitrogen, Kjeldahl, total [as N] | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD | Sampling for Dissolved Oxygen and Total Kjeldahl Nitrogen (TKN) are not required for groundwater dischargers. |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Total Nitrogen (as N) |  | Nitrogen, total [as N] | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Total Phosphorus (as P) |  | Phosphorus, total [as P] | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
B | Total Dissolved Solids |  | Solids, total dissolved | Effluent parameters for all POTWs with a flow equal to or greater than 0.1 MGD & groundwater discharges >30,000 GPD |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Hardness (as CaCO3) |  | Hardness, total [as CaCO3] | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Aluminum, Total Recoverable | 7429-90-5 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Antimony, Total Recoverable | 7440-36-0 | Antimony, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Arsenic, Total Recoverable | 7440-38-2 | Arsenic, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Beryllium, Total Recoverable | 7440-41-7 | Beryllium, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Cadmium, Total Recoverable | 7440-43-9 | Cadmium, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Chromium, Total Recoverable | 7440-47-3 | Chromium, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Copper, Total Recoverable | 7440-50-8 | Copper, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Lead, Total Recoverable | 7439-92-1 | Lead, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Nickel, Total Recoverable | 7440-02-0 | Nickel, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Selenium, Total Recoverable | 7782-49-2 | Selenium, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Silver, Total Recoverable | 7440-22-4 | Silver, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Thallium, Total Recoverable | 7440-28-0 | Thallium, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Zinc, Total Recoverable | 7440-66-6 | Zinc, Total Recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Cyanide, Total | 57-12-5 | Cyanide, total [as CN] | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Cyanide, Free | 57-12-5 | Cyanide, free available | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Total Phenolic Compounds |  | Phenolics, total recoverable | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | mg/L |  |  |  | mg/L |  |  |  |  | mg/L
C | Acrolein | 107-02-8 | Acrolein | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Acrylonitrile | 107-13-1 | Acrylonitrile | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Benzene | 71-43-2 | Benzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Bromoform | 75-25-2 | Bromoform | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Carbon Tetrachloride | 56-23-5 | Chlorobenzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Chlorobenzene | 108-90-7 | Chlorobenzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Chlorodibromomethane | 124-48-1 | Chlorodibromomethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Chloroethane | 75-00-3 | Chloroethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2-Chloroethylvinyl ether | 110-75-8 | 2-Chloroethyl vinyl ether, [mixed] | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Chloroform | 67-66-3 | Chloroform | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Dichlorobromomethane | 75-27-4 | Dichlorobromomethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,1-Dichloroethane | 75-34-3 | 1,1-Dichloroethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,2-Dichloroethane | 107-06-2 | 1,2-Dichloroethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | trans-1,2-Dichloroethylene | 156-60-5 | trans-1,2-Dichloroethylene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,1-Dichloroethylene | 75-35-4 | 1,1-Dichloroethylene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,2-Dichloropropane | 78-87-5 | 1,2-Dichloropropane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,3-Dichloropropylene | 542-75-6 | 1,3-Dichloropropylene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Ethylbenzene | 100-41-4 | Ethylbenzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Methyl Bromide | 74-83- 9 | Methyl bromide [Bromomethane] | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Methyl Chloride | 74-87-3 | Methyl chloride [Chloromethane] | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Methylene Chloride | 75-09-2 | Methylene chloride | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,1,2,2-Tetrachloroethane | 79-34-5 | 1,1,2,2-Tetrachloroethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Tetrachloroethylene | 127-18-4 | Tetrachloroethylene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Toluene | 5216-25-1 | Toluene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,1,1-Trichloroethane | 71-55-6 | 1,1,1-Trichloroethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,1,2-Trichloroethane | 79-00-5 | 1,1,2-Trichloroethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Trichloroethylene | 79-01-6 | Trichloroethylene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Vinyl Chloride | 75-01-4 | Vinyl chloride | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | p-Chloro-m-cresol | 59-50-7 | p-Chloro-m-cresol | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2-Chlorophenol | 95-57-8 | 2-Chlorophenol | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2,4-Dichlorophenol | 120-83-2 | 2,4-Dichlorophenol | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2,4-Dimethylphenol | 105-67-9 | 2,4-Dimethylphenol | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 4,6-Dinitro-o-cresol | 534-52-1 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2,4-Dinitrophenol | 51-28-5 | 2,4-Dinitrophenol | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2-Nitrophenol | 88-75-5 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 4-Nitrophenol | 100-02-7 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Pentachlorophenol | 87-86-5 | Pentachlorophenol | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Phenol | 108-95-2 | Phenol | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2,4,6-Trichlorophenol | 88-06-2 | 2,4,6-Trichlorophenol | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Acenaphthene | 83-32-9 | Acenaphthene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Acenaphthylene | 208-96-8 | Acenaphthylene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Anthracene | 120-12-7 | Anthracene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Benzidine | 92-87-5 | Benzidine | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Benzo(a)anthracene | 56-55-3 | Benzo[a]anthracene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Benzo(a)pyrene | 50-32-8 | Benzo[a]pyrene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 3,4-Benzofluoranthene | 205-99-2 | 3,4-Benzofluoranthene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Benzo(ghi)perylene | 191-24-2 | Benzo[ghi]perylene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Benzo(k)fluoranthene | 207-08-9 | Benzo[k]fluoranthene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Bis(2-chloroethoxy)methane | 111-91-1 | Bis[2-chloroethoxy]methane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Bis(2-chloroethyl)ether | 111-44-4 | Bis[2-chloroethyl] ether | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Bis(2-chloroisopropyl)ether | 108-60-1 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Bis(2-ethylhexyl)phthalate | 117-81-7 | Di[2-ethylhexyl] phthalate [DEHP] | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 4-Bromophenyl phenyl ether | 101-55-3 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Butyl benzyl phthalate | 85-68-7 | Butyl benzyl phthalate | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2-Chloronaphthalene | 91-58-7 | 2-Chloronaphthalene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 4-Chlorophenyl phenyl ether | 7005-72-3 | 4-Chlorophenyl phenyl ether | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Chrysene | 218-01-9 | Chrysene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Di-n-butyl phthalate | 84-74-2 | Di-n-butyl phthalate | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Di-n-octyl phthalate | 117-84-0 | Di-n-octyl phthalate | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Dibenzo(a,h)anthracene | 53-70-3 | Dibenz[a,h]anthracene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,2-Dichlorobenzene | 95-50-1 | 1,2-Dichlorobenzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,3-Dichlorobenzene | 541-73-1 | 1,3-Dichlorobenzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,4-Dichlorobenzene | 106-46-7 | 1,4-Dichlorobenzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 3,3-Dichlorobenzidine | 91-94-1 | 3,3'-Dichlorobenzidine | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Diethyl phthalate | 84-66-2 | Diethyl phthalate | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Dimethyl phthalate | 84-74-2 | Dimethyl phthalate | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2,4-Dinitrotoluene | 121-14-2 | 2,4-Dinitrotoluene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 2,6-Dinitrotoluene | 606-20-2 | 2,6-Dinitrotoluene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,2-Diphenylhydrazine | 122-66-7 | 1,2-Diphenylhydrazine | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Fluoranthene | 206-44-0 | Fluoranthene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Fluorene | 86-73-7 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Hexachlorobenzene | 118-74-1 | Hexachlorobenzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Hexachlorobutadiene | 87-68-3 | Hexachlorobutadiene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Hexachlorocyclo-pentadiene | 77-47-4 | Hexachlorocyclopentadiene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Hexachloroethane | 67-72-1 | Hexachloroethane | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Indeno(1,2,3-cd)pyrene | 193-39-5 | Indeno[1,2,3-cd]pyrene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Isophorone | 78-59-1 | Isophorone | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Naphthalene | 91-20-3 | Naphthalene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Nitrobenzene | 98-95-3 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | n-Nitrosodi-n-propylamine | 621-64-7 |  | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | n-Nitrosodimethylamine | 62-75-9 | n-Nitrosodimethylamine | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | n-Nitrosodiphenylamine | 86-30-6 | N-Nitrosodiphenylamine | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Phenanthrene | 85-01-8 | Phenanthrene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | Pyrene | 129-00-0 | Pyrene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
C | 1,2,4-Trichlorobenzene | 120-82-1 | 1,2,4-Trichlorobenzene | All POTWS >1 MGD and other selected POTWs as identified in Part 1 of the application, Item 3.17 |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Aldrin | 309-00-2 | Aldrin | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | α-BHC | 319-84-6 | .alpha.-BHC | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | β-BHC | 319-85-7 | .beta.-BHC | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | γ-BHC | 58-89-9 | .gamma.-BHC | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | δ-BHC | 319-86-8 | .delta.-BHC | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Chlordane | 57-74-9 | Chlordane | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | 4,4'-DDT | 50-29-3 | 4,4'-DDT | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | 4,4'-DDE | 72-55-9 | 4,4'-DDE | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | 4,4'-DDD | 72-54-8 | 4,4'-DDD | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Dieldrin | 60-57-1 | Dieldrin | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | a-Endosulfan | 115-29-7 | .alpha.-Endosulfan | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | b-Endosulfan | 115-29-7 | .beta.-Endosulfan | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Endosulfan sulfate | 1031-07-8 | Endosulfan sulfate | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Endrin | 72-20-8 | Endrin | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Endrin aldehyde | 7421-93-4 |  | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Heptachlor | 76-44-8 | Heptachlor | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Heptachlor epoxide | 1024-57-3 | Heptachlor epoxide | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | PCB-1242 | 53469-21-9 | PCB-1242 | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | PCB-1254 | 11097-69-1 | PCB-1254 | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | PCB-1221 | 11104-28-2 | PCB-1221 | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | PCB-1232 | 11141-16-5 | PCB-1232 | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | PCB-1248 | 12672-29-6 | PCB-1248 | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | PCB-1260 | 11096-82-5 | PCB-1260 | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | PCB-1016 | 12674-11-2 | PCB-1016 | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l
D | Toxaphene | 8001-35-2 | Toxaphene | Pesticides & additional pollutants if requested by NYSDEC |  |  |  | µg/l |  |  |  | µg/l |  |  |  |  | µg/l